## DENTAL ASSISTANT OPENING PROCEDURES CHECKLIST

(edit all checklist as you  see fit)

_____	Lower thermostats to 70

_____	Turn on all lights, including carpule warmers and 3 red light switches

_____	Empty autoclave

_____	Turn on the processor and water in the x-ray room, add 6oz of fresh fixer and developer into appropriate tanks

_____	Lower blinds in operatory #1 to a closed position

_____	Lower chairs

_____	Empty chair side cold steriles and restock needed supplies in operatories

_____ Put away clean instruments

_____	Set up operatories for first patients

_____	Gather charts for the morning huddle, along with progress notes and lab Rx’s

_____	Participate in the huddle and inform staff what procedures will be rendered for each patient

_____ Give lab cases not completed the day before to the receptionist, to call for pickup

## DENTAL ASSISTANT DAILY ROUTINE CHECKLIST

_____	Greet patients and seat them in the operatory.

_____	Review medical history and chart.

_____	Take any necessary x-rays before the doctor arrives to treat patient.

_____	Assist the doctor at chair side.

_____	Pour up opposing preliminary alginate impression (if necessary).

_____ Fill out progress note information and place it in the chart; complete and secure the doctor’s signature.

_____	Fill out routing slip, accurately indicating all procedures performed, any prescriptions needed and the next visit information.

_____	Take chart, routing slip, and lab slip to the Accounts Manager before dismissing the patient from the chair.

_____	Dismiss the patient from chair and escort him/her to Accounts Manager for checkout.

_____	Clean the operatory after each patient.

_____	Prepare the room for the next patient.

_____	Pack any inserted/completed lab case in a zip lock bag and label it (patient’s name, insertion date, tooth number, prosthetic type).  Empty the box in lab.

_____	Keep inventory control throughout the day.  Constantly check the supply of materials and write down any needed supplies, including any necessary information and always check to be sure the needed supplies have not already been ordered.

_____ Sterilize instruments.

_____	File x-rays in charts.

_____	Trim and label all poured models.

_____	Wash, dry and hang lab coats when needed.

## DENTAL ASSISTANT END OF THE DAY CHECKLIST

_____	Ensure all operatories are clean and set up for the next day’s first patients and chairs are raised to their highest point.

_____	Open and pull up operatory #1 blinds.

_____	Turn off all lights in operatories, carpule warmers, curing lights, darkroom and x-ray units and Panorex machine.

_____	Turn off all three red light switches (water, compressor, vacuum).

_____	Fill water bottles in operatories

_____	Purge lines for high-speeds and A/W syringes.

_____	Remove all instruments from the Biosonic.

_____	Ensure all instruments are bagged and ready to go for sterilization cycle.

_____	Clean lab, including countertop and sink, and turn off all equipment.

_____	Ensure all models are poured, trimmed and labeled.

_____	Prepare all lab cases; label and box with Rx enclosed and get ready to go out the next morning.  Give cases to the receptionist to call for pickup.

_____	Turn both thermostats up to 75.

_____	Turn off the water valve and x-ray processor.

_____	Turn off the autoclave.

_____	Select progress note labels for each patient on the next day’s schedule and place in the chart along with the routing slip.

_____	Select the appropriate lab prescriptions (if applicable) for patients on the next day’s schedule.  Fill out the name, date, date needed by, tooth numbers and instructions and place them in the chart along with routing slip and progress notes.

_____	Pull all lab cases for try-in or insertion for the next day’s schedule.  Ensure all lab cases are in for the next day.  Place cases in lab stock trays and label them with the patient’s name.  Place them on the sterilization counter.  Notify the scheduling coordinator immediately of any missing cases.

_____ Check in and put away any supply orders received.

______ Shut off items in lab (ie: cerec milling unit, glazing oven, vacuum former)

______ Turn off Nitrous and Oxygen

______ Drain Ultrasonic

## DENTAL ASSISTANT week ending routine checklist

_____	Wash, dry and hang lab coats.  Remove all pens, gloves and masks from pockets beforehand.

_____ Add oil to the compressor - to both ports in the laundry room.

_____	Remove all instruments from the Biosonics.

_____	Change solutions in the Biosonics.

_____	Ensure all instruments are bagged and ready to go for the sterilization cycle.

_____	Load and run the Autoclave.

_____	Turn off the autoclave.

_____	Clean the Autoclave.  It must be warm when cleaned.

_____	Empty all objects from all cold steriles.

_____ Ensure that all used impression trays are scrubbed thoroughly in hot soapy water and then replaced in their proper containers above the lab sink.

_____	Run vacu-cleaner or bleach water through all suctions and pour a cup full of bleach water down each cuspidor.

_____	Change traps in all cuspidors.

_____	Empty water bottles in operatories #1 and #3.

_____ Run dilute bleach solution through air water syringes and high speed lines.

_____	Purge lines for the high-speeds and A/W syringes until dry.

_____	Clean all chairs in the operatory. Then, Armoral chairs and bases.

_____	Clean the lab, sterilization center, and operatory countertops and cabinets with soft scrub and all-purpose spray cleaner.

_____ Lower Panorex unit and wipe off the top of it with all-purpose cleaner.

_____	Do any other cleaning needed.

_____	Turn off the water valve and shut off the x-ray processor.

_____ Clean the x-ray processor.  Follow the weekly maintenance schedule.

_____ Organize and check all supplies in Endo cart.

_____	Re-stock the operatories and cabinet above the autoclave.

_____	Re-stock the bur blocks from all operatories uniformly.

_____ Check in and put away all supply orders received.

_____ Check stock and inventory supplies.

_____	Restock paper towel dispensers in all operatories, patient bathroom, lab, darkroom and sink.

_____	Restock the patient bathroom with soap, lotion and tooth-brushing supplies.

_____	Ensure that all models are poured, trimmed and labeled.

_____	Confirm that all lab cases prepared, labeled and boxed with the Rx enclosed and ready to go out the next morning.  Give cases to the receptionist to arrange for pickup.

_____	Ensure that all lab equipment turned off.

_____	Turn off all lights in the operatories, carpule warmers, curing lights, darkroom and x-ray units.

_____	Raise chairs to their highest point.

_____	Open and pull up operatory #1 blinds.

_____	Complete _______ Budget Report.

_____	Insert progress notes in charts for the next day’s schedule.

_____	Pull lab cases for next day’s schedule, place them in the lab stock trays and label them with the patient’s name.  Place them in the designated cabinet above the sterilization counter.

_____	Place necessary (approved) supply orders.  Ensure and record keeping is always maintained regarding ordering supplies.

_____ Empty the mailbox and completely handle all requests.

_____	Turn off both thermostats.

MONTHLY ROUTINE  (first Friday of each month)

_____ Perform spore testing in the autoclave and mail it. Then, document testing on the autoclave testing schedule in the dental lab.

_____	Clean the x-ray processor

_____ Clean the cold steriles and change the solution.

_____ Remove all cuspidors and soak them in bleach water (50/50 mix) in lab sink.

_____ Place a new filter in the water filtration system.

_____ Clean the suction trap filters in the maximizer pump.

_____ Clean the oil compressor and vacuum fan vent.

_____ Document the above on monthly maintenance schedule in the dental lab.